## Design Checklist
ADA Compliance Curb Ramp Design Checklist
|  | (Y/N or N/A) | Comments
1 | Does intersection curb ramp layout comply with diagram in RDM section 5.7.4 “Curb Ramps at Intersections”? | -
2 | Is turning space - 4’ x4’ min.? | -
3 | Is turning space cross slope - 2% max.? | -
4 | Is ramp width – 4’ minimum? | -
5 | Is ramp running slope – 8.33% max.? | -
6 | Are concrete flares slopes – 10% max.? | -
7 | Is clear space 4’ x 4’ min.? | -
8 | Is clear space contained entirely within crosswalk? | -
9 | Is detectable warning surface (DWS) present? | -
10 | Is DWS oriented correctly? | -
11 | Is DWS in contrast “light on dark” or “dark on light”? | -
12 | Is clear width of sidewalk 36’ min.? | -
13 | Is crosswalk striped? | -
14 | Is curb ramp located entirely within the crosswalk where a painted crosswalk exists (exclusive of flares)? | -
15 | Is curb ramp or turning space clear of any utilities? | -
16 | Are curb ramps with a turning space provided where pedestrian pushbuttons are present? | -
17 | Is a sidewalk provided to access pedestrian pushbutton? | -
18 | Is distance to pushbuttons within 6ft maximum of the curbline as per MUTCD standards? | -
19 | Is pushbutton located 3.5’ maximum above sidewalk? | -
20 | Is pushbutton within 10” from edge of sidewalk? | -
21 | Is pushbutton type ADA compliant? | -
22 | Are walk/don’t walk” indicators present? | -
23 | Is the signal pole foundation exposed no more than the maximum 1” on sidewalk, 2” on grass? | -
24 | Is bottom edge of curb ramp flush with road? | -
25 | Is a walkway opening or curb ramps needed in the median? | -